## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: MANAGING DIRECTOR, OCCL
Name of Work: "River Training work and River Bed Protection at Odastala High Level Bridge site of Ret Irrigation Project".
Contract No: OCCL-RIP/02/2020-21
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Excavation of foundation in all kinds of soil including moorum,stoney earth,gravel etc. excepting all kinds of rock & boulders exceeding 0.014cum in volume including rough dressing and dumping the excavated materials away from the work site manually with all leads and lifts, incidental charges, labour cess etc complete as per the direction of Engineer-in-charge. | 1 | 2190 | Cum | 203.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 445665 | 445665 | INR Four Lakh Forty Five Thousand Six Hundred & Sixty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Earth work in slushy soil (in water upto 0.60m depth requiring the aid of pan and vessels) within all leads and lifts including removal of debris all lead and lifts, incidental charges, labour cess etc complete as per the direction of Engineer-in-charge. | 2 | 2376 | Cum | 172.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408909.6 | 408909.6 | INR Four Lakh Eight Thousand Nine Hundred & Nine and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Excavation of foundation in laterite rock or any hard rock (other than granite or disintigrated rock) removed by chiselling including dressing and levelling the bed not exceeding 1.50m in depth, transporting and depositing the excavated materilas away from work site with all leads & lifts by mechanical means with all incidental charges, labour cess etc. complete as per direction of Engineer-in-Charge. | 3 | 2946 | Cum | 1489.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4386888.6 | 4386888.6 | INR Forty Three Lakh Eighty Six Thousand Eight Hundred & Eighty Eight and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Cement concrete M15 with 40 mm size down graded hard granite chips of approved quality free from skin and weathered surface and foreign materials , mixed in concrete mixer including cost, conveyance, royalty and taxes of all materials & machineries to the work site with all leads, lifts and delifts upto any height using cranes or any other hoisting device for hoisting and placement in position to proper grade and profile including vibrating by mechanical means for proper consolidation and curing for 21 days with dewatering and cleaning old surface as per specification before laying fresh concrete, labour cess etc. complete including mobilisation & demobilisation of men, materials and machineries etc. and providing illumination, if required, including clearance of slush and muck after rainy season etc. with all incidental charges as directed by the Engineer-in-charge. | 4 | 19.5 | Cum | 4172.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81367.65 | 81367.65 | INR Eighty One Thousand Three Hundred & Sixty Seven and Paise Sixty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Cement concrete M20 with 40 mm size down graded hard granite chips of approved quality free from skin and weathered surface and foreign materials , mixed in concrete mixer including cost, conveyance, royalty and taxes of all materials & machineries to the work site with all leads, lifts and delifts upto any height using cranes or any other hoisting device for hoisting and placement in position to proper grade and profile including vibrating by mechanical means for proper consolidation and curing for 21 days with dewatering and cleaning old surface as per specification before laying fresh concrete, labour cess etc. complete including mobilisation & demobilisation of men, materials and machineries etc. and providing illumination, if required, including clearance of slush and muck after rainy season etc. with all incidental charges as directed by the Engineer-in-charge. | 5 | 229.68 | Cum | 4618 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1060662.24 | 1060662.24 | INR Ten Lakh Sixty Thousand Six Hundred & Sixty Two and Paise Twenty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Cement concrete M30 with 20 mm size down graded hard granite chips of approved quality free from skin and weathered surface and foreign materials , mixed in concrete mixer including cost, conveyance, royalty and taxes of all materials & machineries to the work site with all leads, lifts and delifts upto any height using cranes or any other hoisting device for hoisting and placement in position to proper grade and profile including vibrating by mechanical means for proper consolidation and curing for 21 days with dewatering and cleaning old surface as per specification before laying fresh concrete, labour cess etc. complete including mobilisation & demobilisation of men, materials and machineries etc. and providing illumination, if required, including clearance of slush and muck after rainy season etc. with all incidental charges as directed by the Engineer-in-charge. | 6 | 288.53 | Cum | 5156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1487660.68 | 1487660.68 | INR Fourteen Lakh Eighty Seven Thousand Six Hundred & Sixty and Paise Sixty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing form work for concrete with F-1 finish for up-stream face of Dam, spillway, glacis of barrages, unexposed surface of foundation, block joints etc. with steel shutters rigidly fixed and removal of forms and making good to the surfaces where necessary complete with all labour, materials and T & P, labour cess etc. complete as directed by the Engineer in charge. | 7 | 809.9 | Sqm | 707 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 572599.3 | 572599.3 | INR Five Lakh Seventy Two Thousand Five Hundred & Ninety Nine and Paise Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supply of steel and straigtening, cutting, bending, binding, and tying the grill and placing in position for febrication fixing of reinforcement including laping when ever necessary with cost of binding wire with all leads and lifts from bending yards to placement spot including, cost, conveyance, and taxes of HYSD tor bar of SAIL brand, with all accesories materials and machinery, incidental charges, labour cess etc complete as per drawing and technical specification and as directed by the Engineer in charge. | 8 | 122.58 | Qntl | 7388.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 905694.59 | 905694.59 | INR Nine Lakh Five Thousand Six Hundred & Ninety Four and Paise Fifty Nine Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Rough Stone dry packing in approns and revetments with Hard granite stone of 30 cm and above sizes including loading, unloading, cost, conveyance, royality, labour cess and all other taxes with all leads, lifts, rock of regular approve size and filling into the interstices with wedge stone as per approved design, drawing, specification in design slope in approns and revetment as directed by the Engineer in charge including cost of quality control test , hire charges of all machineries, cost of all materials, T&P, Labour and supervision charges etc complete. | 9 | 518.22 | Cum | 1571.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 814486.37 | 814486.37 | INR Eight Lakh Fourteen Thousand Four Hundred & Eighty Six and Paise Thirty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Rough Stone dry packing in approns and revetments with Hard granite stone of 30 cm and above sizes including loading, unloading, cost, conveyance, royality, labour cess and all other taxes with all leads, lifts, rock of regular approve size and filling into the interstices with wedge stone as per approved design, drawing, specification in design slope in approns and revetment as directed by the Engineer in charge including cost of quality control test , hire charges of all machineries, cost of all materials, T&P, Labour and supervision charges etc complete. (Below Ground Level) | 10 | 2348 | Cum | 1700.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3992774 | 3992774 | INR Thirty Nine Lakh Ninety Two Thousand Seven Hundred & Seventy Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Grouting approns and revetments 23cm deep with cement concrete (1:4:8) with 2.50cm crusher broken hard granite metal including cost of all materials, labour, conveyance, royalty, labour cess and all other taxes with all leads and lifts including all incidental charges etc. complete as per direction of Engineer-in-Charge. | 11 | 863.7 | Sqm | 235 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202969.5 | 202969.5 | INR Two Lakh Two Thousand Nine Hundred & Sixty Nine and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Earthwork in suitable type of soil in borrow area, loading into transport vehicle manually or mechanically and transportation of earth by mechanical means, unloading the same over the approved surface of embankment in proper profiles with all leads, lifts & delifts including rough dressing and breaking the clods to maximum 5cm to 7cm size including removal of roots, bushes, other deleterious materials from transported earth with all cost, carriage, royalty, labour cess and laying in layers not exceeding 22.5cm in depth including compaction by Sheep foot roller / Vibratory roller in OMC condition with hire & running charges of all machineries with all labour, T & P required for the work etc. complete in all respect as per specification and direction of the Engineer-in-Charge. | 12 | 3220 | Cum | 111.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 357742 | 357742 | INR Three Lakh Fifty Seven Thousand Seven Hundred & Forty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Labour for spreading metal for Patch or Pot hole repairs and consolidation with P.R.R or rammers, Crusher screening, gravelling and sand binding, etc. complete including cost and conveyance of metal, crusher screening moorum, sand and all other materials including labour cess, royalty taxes etc complete as per direction of Engineer-in-Charge. | 13 | 13.88 | Cum | 2727.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37856.31 | 37856.31 | INR Thirty Seven Thousand Eight Hundred & Fifty Six and Paise Thirty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Cleaning the existing granular base surface including removal of binding materials and other foreign material with brushes and small picks, sweeping with brooms and finally dusting with old gunny bags to receive bituminous including labour cess etc. complete as per direction of Engineer-in-Charge. | 14 | 185 | Sqm | 15.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2812 | 2812 | INR Two Thousand Eight Hundred & Twelve Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Labour for laying 20mm thick pre mix carpet using 0.27 cum of 13.2mm to 5.6 mm size chips and 14.60 Kg penetration grade of bitumen per 10 sqm including hand packing to proper camber and consolidation with PRR including Hire and running charge of PRR, hot mix plant, bitumen boiler and all other T & P articles, cost and conveyance of bitumen, chips and all other materials including royalty, labour cess etc complete as per specification and as directed by the Engineer in charge. | 15 | 185 | Sqm | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28120 | 28120 | INR Twenty Eight Thousand One Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Labour for laying 6mm thick precoated seal coat type-B using 0.06 cum of 6.7 mm size chips as per sieve analysis and 6.80 Kg of bitumen per 10 sqm and consolidation with PRR including Hire and running charge of PRR, hot mix plant, bitumen boiler and all other T & P articles, cost and conveyance of bitumen, chips and all other materials including royalty, labour cess etc complete as directed by the Engineer in charge. | 16 | 185 | Sqm | 62.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11636.5 | 11636.5 | INR Eleven Thousand Six Hundred & Thirty Six and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | Labour for binding road surface with sand 6mm thick including cost, conveyance and royalty of sand, labour cess etc. complete as per direction of Engineer-in-Charge. | 17 | 185 | Sqm | 2.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 499.5 | 499.5 | INR Four Hundred & Ninety Nine and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Supplying, Errecting,Framing,Positioning of mechanically woven double twisted hexagonal shape Zinc coated matting for gablone using 2.7mm dia mesh wire and 10cmx12cm pore size with galvansing upto 275 gsm to be filled with boulders stone weighting approxmately 30kg each duly hand packed using smaller stones to form gabions of size 3.00mx2.50mx1.00m stitching with 10Swg lacing wire with cost of all materials, labour cess etc. complete as directed by the Engineering-in-Charge. Inclusive of all labour,leads, lifts, loading, unloading all taxes. Tools and plants but excluding cost of stone and labour for packing. | 18 | 2348 | Cum | 928.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2181057.2 | 2181057.2 | INR Twenty One Lakh Eighty One Thousand &Fifty Seven and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 16979401.04 | 16979401.04 | INR One Crore Sixty Nine Lakh Seventy Nine Thousand Four Hundred & One and Paise Four Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information